Site Overview

- Property: DLF Cyber City, Building 5, Gurugram.

- Inspection Date: October 24, 2023.

- Inspector: Regional Facilities Manager.

- Building Specs: G+20 commercial tower, LEED Platinum certified.

Section 1: Structural Integrity Observations

- Exterior glass facade is in good condition; routine cleaning completed last week.

- Minor hairline cracks noted in the Level 4 parking slab; engineering team says they are non-structural but need sealing.

- Expansion joints at the Sky Bridge connection show typical wear; recommend preventive maintenance in Q1.

- Roof drainage system is clear, but secondary overflows need debris removal.

Section 2: Safety & Compliance Audit

- Fire suppression system passed the monthly pressure test.

- Emergency exit signage on Floors 12-15 has been upgraded to high-visibility LED.

- CCTV coverage in the North Plaza has a blind spot near the new kiosk; needs one additional camera.

- Two fire extinguishers in the B2 basement were found with broken seals; replaced immediately.

- Lift 4 (Service) had a minor floor-leveling issue (2-inch gap); technician called.

Section 3: Tenant Feedback Summary

- Microsoft Office (Floors 8-10): Requested more frequent sanitization of common area touchpoints during peak hours.

- KPMG (Floors 14-18): Reported fluctuating temperatures in the East Wing conference rooms; HVAC sensors may need recalibration.

- Common Area: Visitors praised the new digital wayfinding screens in the lobby.

- Issue: Several tenants mentioned "long wait times" for the morning shuttle service from the Rapid Metro station.