## Terms and Conditions
TERMS AND CONDITIONS — pages: 30
No. | Text
1. | Materials shall be got approved from the Engineer-in- Charge before use at site.
2. | Any damages done to the building during the execution of work shall be made good for which nothing extra shall be paid on any account & to the entire satisfaction of Engineer-in- Charge.
3. | No T&P shall have issued by the department.
4. | Nothing extra shall be paid on account of cartage.
5. | Contractor should employ well trained technical staff on carried out the work.
6. | Contractor is responsible for safety of staff and installation during carrying out the work.
7. | The contractor should give warranty for One year for the parts replaced/installed.
8. | Unserviceable dismantle material received from the work shall credited to the contractor.
S.No. | Description of Items | Unit | Rate
1 | 2x1.5 sq.mm fire alarm armored cable | P/Mtrs | 30
2 | Addressable photo thermal detector | Each | 90

## Acceptable Make
Acceptable Make — pages: 31
S. No. | Description of Items | Make
1 | Fire Alarm Armored Cable, XLPE | Finolex/ RR Kabel / Havells/ Polycab/ Grandly/ Gloater
2 | CPU Module for addressable fire alarm control panel Supports 3-LCD(XL), 3- RS485A/B/R, 3-RS232 | Edwards or as per Existing OEM
3 | LCD Display Module fire alarm panel | Edwards or as per Existing OEM
4 | Addressable photo thermal detector complete with mounting base | Edwards or as per Existing OEM

## Documents to Upload
List of Documents to be scanned and uploaded within the period of bid submission — pages: 5
No. | Text
1. | Treasury Challan / Demand Draft / Pay order or Banker's Cheque/Deposit at Call Receipt/FDR of any scheduled Bank against EMD in favour of Executive Engineer (E), ED-XVII, CPWD, New Delhi.
2. | Copy of receipt for deposition of original EMD issued from Division office of any Executive Engineer, CPWD (In Enclosed Performa)
3. | Enlistment Order of the Contractor of the composite category in CPWD in appropriate category.
4. | Or
5. | i.) Average annual financial turn over should be at least 50% of the estimated cost during the immediate last three financial year ending 31st march 2025. (Scanned copy of certificate from C.A. to be uploaded)\nii) Should not have incurred any loss in more than two years during the last five years ending 31st March,2025. (Scanned copy of certificate from C.A. to be uploaded)\niii) Should have a solvency of 40% of estimated cost or submit net worth certificate of minimum 15% of ECPT issued by the certificate Chartered Accountant (on the format prescribed in form 'B'/FormB-1) (Scanned copy of original Solvency or Net Worth Certificate from C.A. to be uploaded)
6. | GST registration certificate, if already obtained by the bidder.
7. | Email & mobile no. of the firm/ agency on the letter head of firm/ agency (For making correspondence).
8. | ERP training Certificate. (Note: The enlisted contractor will not be allowed to participate in the tendering process without uploading the certificate of ERP training w.e.f.01.07.2024)
9. | Note: - The Lowest Bidder is required to produce original document on or before or at the time of submission of Performance guarantee Money which are uploaded by the bidder at the time of bid submission otherwise Performance guarantee Money shall not be accepted and EMD shall be forfeited.

## Schedule of Quantity
Schedule of work — pages: 32
s.no. | Description of Items | Quantity | Unit | Rate | Amount
1 | Supplying, installation, testing and commissioning of Central Processor Unit Module, Mounts to local rail at a dedicated location. Takes two local rail module spaces. Supports 3-LCD(XL), 3-RS485A/B/R, 3-RS232 complete as required. (3-CPU3) :selected: | 2 | Nos. | 94,790.00 | 189,580.00
2 | Supplying, Installation, Testing and Commissioning of Large Format Liquid Crystal Display Module. Mounts to 3-CPU(1/3). Requires 4 control/display spaces on operator layer Complete as required. (3-LCDXL1) | 1 | Nos. | 89,815.00 | 89,815.00
3 | Reprogramming of existing 2 Loop Addressable Fire Alarm Control Panel, including verification of all existing devices, modification of loop configuration as per revised site layout, updating of cause and effect matrix, uploading and downloading of new program through compatible software, testing and commissioning of the complete system to ensure proper functionality of all loops, devices, and interfacing modules. All tools, software, and technical manpower complete as required. | 2 | Job | 37,040.00 | 74,080.00
4 | Supplying & laying of 2x1.5 sq.mm fire alarm armored cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armoring & FRLS outer sheath complete as required. | 450 | Mtr | 192.00 | 86,400.00
5 | Supplying, installation, testing & commissioning of intelligent analog addressable photo thermal detector complete with mounting base complete as required. | 30 | Nos. | 3004.00 | 90120.00