## Slide 1: AI - Biomedical Sensors and Data Acquisition

## Slide 2
Biomedical sensors and data acquisition refer to the technology used to measure and collect biological signals and data from living organisms, often for medical purposes. These sensors, like those for heart rate or blood pressure, convert physiological data into electrical signals that can be processed and analyzed. Data acquisition systems then capture, amplify, and digitize these signals for further use in diagnostics, monitoring, and research.

## Slide 3: Biomedical Sensors:
Function:
Biomedical sensors are transducers that convert biological or physiological parameters (like temperature, pressure, electrical activity, etc.) into measurable electrical signals.
Types: They can be broadly classified into:
Physical sensors: Measure physical parameters like temperature, pressure, or motion.
Chemical sensors: Detect chemical concentrations in biological fluids.
Biosensors: Use biological components (like cells, enzymes, or antibodies) to detect specific molecules or substances.
Examples:
Heart rate monitors, blood pressure cuffs, ECG electrodes, glucose sensors, and brain activity sensors (EEG).

## Slide 4: Data Acquisition Systems:
Function:
Data acquisition (DAQ) systems are the electronic systems that collect, condition, and digitize the signals produced by biomedical sensors.
Key components:
Amplifiers: Increase the strength of the sensor's output signal.
Analog-to-digital converters (ADCs): Convert the analog (continuous) signals into digital (discrete) signals that computers can process.
Microcontrollers or computers: Manage the data acquisition process, store the data, and potentially perform initial analysis.
Examples:
DAQ boards for collecting ECG signals, portable devices for monitoring blood glucose levels, and research setups for collecting brain activity data.

## Slide 5: Applications:
Clinical diagnostics: Monitoring vital signs, detecting diseases, and guiding treatment decisions.
Patient monitoring: Tracking patients' physiological parameters in hospitals and during home care.
Medical research: Studying physiological processes, developing new therapies, and understanding disease mechanisms.
Wearable health technologies: Personalized health tracking and remote monitoring.

## Slide 6: Key Considerations
Accuracy and precision: The sensor and DAQ system should accurately and precisely measure the physiological parameters.
Sensitivity and resolution: The sensor should be sensitive enough to detect small changes in the physiological parameters and have sufficient resolution to distinguish between different levels of these parameters.
Safety: Biomedical sensors and DAQ systems should be safe for patients and users.
Cost-effectiveness: The technology should be affordable and accessible.
Biocompatibility: Sensors and materials used in contact with the body should be biocompatible, says a review on biomedical sensors.